## Slide 1
TRACK: PLANET (ENERGY & DECARBONISATION)
GreenPulse SiteOS
The Zero-Genset Site Energy Operating System
Eliminating diesel generator rentals across active Sime Darby townships through intelligent BESS buffering, predictive load shifting, and statutory DOE compliance automation.
RM 125,128
Monthly Net Cash Saved Per Active Parcel
Fuel (RM 95k) + Avoided Rental (RM 30k)
77.6%
Scope 1 Carbon Abatement
18.40 -> 4.12 kg CO2e / m2 CFA intensity
-27.9 dBA
Acoustic Noise Reduction
82 dBA genset drone -> 54.1 dBA clean power
Notes: Judges, welcome. We represent Team Build With Geeks. Sime Darby Property is Malaysia's premier township master developer, leading the nation toward 40% carbon intensity reduction by 2030 and Net Zero by 2050. Yet every greenfield parcel breaking ground today carries a multi-million ringgit blind spot: temporary construction diesel power. We built GreenPulse SiteOS to eliminate this cash bleed and regulatory threat completely.

## Slide 2
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | THE STORY : 1. PROBLEM
The Temporary Power Blind Spot on Active Greenfield Parcels
[GRID REALITY] 1. Permanent Grid Delay
• Permanent TNB 11kV/33kV substations require 9 to 18 months to commission.
• Early structural works (pilings, substructure, tower cranes) must start day one.
• Contractors are forced into 100% off-grid temporary power setups.
• Township scale: Multiplied across City of Elmina, Serenia City, and Bandar Bukit Raja simultaneously.
[FINANCIAL DRAIN] 2. Unsubsidised Diesel Shock
• Commercial construction is 100% excluded from BUDI Madani diesel subsidies.
• Commercial Euro 5 diesel costs RM 5.17 per litre (market price).
• An active site burns 12,000L to 14,000L monthly, costing over RM 65,000 in fuel alone.
• Equipment hire firms charge RM 15,000 to RM 35,000/mo just for generator rental.
[REGULATORY THREAT] 3. Acoustic & ESG Penalties
• 500 kVA generators emit continuous 82 dBA drone at 10 meters distance.
• Violates DOE Planning Guidelines Schedule 6 limits (60 dBA Day / 45 dBA Night).
• Triggers immediate residential complaints from neighboring completed phases.
• Risk of DOE Stop-Work orders stalling millions in structural works.
Notes: The problem is systemic: permanent TNB grid supply arrives 9 to 18 months after construction begins. Because construction is excluded from BUDI Madani diesel subsidies, contractors pay the commercial rate of RM 5.17 per litre. Together with generator rental, a single active parcel burns RM 95,000 to RM 125,000 every single month in pure operational waste. Worse, 82 dBA generator noise directly threatens statutory DOE noise compliance, risking immediate stop-work orders.

## Slide 3
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | THE STORY : 2. TARGET USER
Three Interconnected Personas Across the Construction Hierarchy
[OPERATIONAL TIER] M&E Site Manager
• Persona: Encik Hafiz (Inta Bina / Main Contractor M&E Lead).
• Daily Headache: Voltage dips and breaker trips caused by 94 kW tower crane motor inrush.
• Operational Pain: Managing diesel deliveries, fuel theft risks, and machine downtime.
• Needs: Reliable, unbreakable power with instant sub-millisecond surge dampening.
[COMPLIANCE TIER] Site Environmental Officer
• Persona: Puan Nurul (Licensed Environmental Officer, DOE liaison).
• Daily Headache: Noise meters spiking at residential boundaries; midnight complaints.
• Operational Pain: Compiling weekly manual paper logs for Jabatan Alam Sekitar.
• Needs: Real-time acoustic boundary audit, zero exhaust smoke, and 1-click statutory EMP reporting.
[EXECUTIVE TIER] HQ Development Director
• Persona: Ir. Ts. Tan (Sime Darby Property Executive Management).
• Corporate Headache: Escalating OpEx invoices, budgeting for diesel inflation.
• Corporate Mandate: Bursa Malaysia CSI Scope 1 carbon intensity targets (kg CO2e/m2).
• Needs: Clear ROI, cross-township BESS asset mobility, and audited ESG metrics.
Notes: GreenPulse connects all three critical stakeholders in the property development lifecycle. The M&E Manager on site gets unbreakable power that never trips when a heavy crane hoists concrete. The Environmental Officer gets automated boundary noise compliance that protects the project from DOE stop-work notices. And the HQ Development Director gets an audited ESG reporting pipeline with proven 14.2-month payback.

## Slide 4
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | THE STORY : 3. SOLUTION
GreenPulse SiteOS: The Integrated Multi-Role Operating Platform
[M&E MANAGER VIEW] M&E Operations Screen
• Live Sub-Cycle Inrush Buffer: Dampens 94 kW inductive motor kicks in < 4 milliseconds.
• Machinery Circuit Control: Dynamic breaker management for Cranes, Hoists, and CLQ Quarters.
• Autonomous Weather Dispatch: Pre-charges BESS to 88% ahead of afternoon storm clouds.
• EV Fleet Charging: Schedules 60 kW forklift charging using clean mid-day solar surplus.
[ENVIRONMENTAL OFFICER] Environmental & Boundary Screen
• Live Acoustic Meter: Boundary L90 noise audit (54.1 dBA vs 60 dBA Day Limit).
• Acoustic Source Separation: Separates site noise from external public road tipper trucks.
• Water & Silt Runoff: Real-time turbidity sensor monitoring (< 50 NTU compliance).
• 1-Click Statutory Filing: Generates official Monthly EMP attachments for DOE submission.
[HQ EXECUTIVE VIEW] HQ Portfolio & ESG Screen
• Commercial Diesel Ticker: Live RM 5.17 / L economic indexation across all active parcels.
• Multi-Township Redeployment: Tracks BESS asset moves across Elmina, Serenia, and Bukit Raja.
• Bursa CSI ESG Disclosure: Certified Scope 1 carbon abatement reporting.
• Pre-Tender Sizing Calculator: Embeds zero-genset power requirements into new subcontracts.
Notes: GreenPulse SiteOS is not just hardware; it is the intelligent software operating layer. It synchronizes containerized BESS hardware, solar arrays, and high-frequency site machinery into an autonomous power utility. Each stakeholder receives an engineered, purpose-built interface that solves their exact operational pain point.

## Slide 5
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | THE STORY : 4. INNOVATION
Deep Tech Innovation: Why GreenPulse Is Industrially Defensible
[HIGH-SPEED POWER ELECTRONICS] 1. Sub-4ms SurgeGuard Inrush Buffer
• Conventional inverters trip under inductive motor starts (45 kW nominal -> 94 kW surge).
• SurgeGuard algorithmic buffering delivers 200 kW peak surge for 10 seconds with 3.8ms IGBT response.
• Guarantees 0.0% breaker trips during dual simultaneous crane and passenger hoist starts.
[PREDICTIVE METEOROLOGY] 2. Physics-Informed SolarCast ML
• Monsoon cloudbursts cause sudden 85% solar drops within 60 seconds.
• SolarCast pairs MET Malaysia Doppler radar with solar zenith geometry for 24-hr forecasting.
• Pre-charges battery before rain hits, completely eliminating generator auto-starts.
[EDGE ACOUSTIC SIGNAL PROCESSING] 3. EchoShield Acoustic Edge AI
• Conventional sound meters register raw spikes from passing highway traffic.
• EchoShield analyzes spectral energy distribution (63 Hz - 125 Hz dump truck signature).
• Isolates true site boundary noise (54.1 dBA) and suppresses false statutory alarms.
[DOMAIN-TUNED COGNITIVE AI] 4. Multi-Role SiteOps Copilot
• Role-conditioned AI assistant trained on DOE Schedule 6 and Malaysian construction standards.
• Executes deterministic power simulations, motor surge calculations, and EMP draft generation.
• Zero hallucination: Built on verified mathematical engineering and statutory legal models.
Notes: What makes GreenPulse truly innovative? Four deep engineering moats. First, SurgeGuard absorbs heavy inductive crane kicks in less than 4 milliseconds. Second, SolarCast reads MET Malaysia radar to anticipate tropical cloud cover. Third, EchoShield uses edge ML to prove passing highway trucks aren't site violations. And fourth, SiteOps Copilot provides deterministic, certified engineering reasoning on demand.

## Slide 6
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | THE PROOF : 5. HOW IT WORKS
Hardware-Software Orchestration Architecture
[SOLAR PV + BESS] Step 1: Clean Harvest
• 150 - 300 kWp rooftop / ground solar array.
• 261 - 522 kWh containerised LFP BESS.
• High-frequency 400 kW hybrid bidirectional inverter.
[4G IOT SITE GATEWAY] Step 2: Edge Telemetry
• Sub-second inverter voltage and frequency sampling.
• Class 1 boundary acoustic noise sensors.
• Smart sub-distribution breakers (CB-01 to CB-06).
[CLOUD MODEL PREDICTIVE CONTROL] Step 3: AI Optimisation
• MPC DispatchOpt solves dynamic cost optimization.
• Load shifting algorithms schedule EV forklift charging.
• Surge headroom preservation prevents voltage dip.
[ROLE-CONDITIONED WEB APP] Step 4: Unified Command
• M&E Manager: Machinery breaker dispatch.
• EO: Live statutory DOE noise margin meter.
• HQ: Portfolio cash savings ledger and fleet scheduler.
Notes: Here is the system architecture in practice. Solar generation and LFP battery storage feed into a high-speed hybrid inverter. An on-site 4G IoT gateway continuously measures bus voltage, circuit loads, and boundary acoustic sound levels. Our cloud MPC algorithms optimize energy flows every 15 minutes, pushing telemetry to the 3 responsive web screens in real time.

## Slide 7
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | THE PROOF : 6. IMPACT
Proven Financial, Environmental, and Community Returns
[ECONOMIC DIVIDEND] Direct Financial Return
• Fuel Cost Elimination: Saves 18,400L of Euro 5 diesel monthly (RM 95,128/mo).
• Rental Avoidance: Cancels 500 kVA generator rental contract (RM 30,000/mo).
• Net Cash Savings: RM 125,128 net operational savings per parcel every month.
• Capital Payback: Fast 14.2 months against turnkey container capex.
[PLANET TRACK GOAL] Environmental Decarbonisation
• Scope 1 Reduction: 77.6% drop in construction phase carbon intensity.
• Carbon Benchmark: Reduces emissions from 18.40 kg to 4.12 kg CO2e / m2 CFA.
• Clean Air Quality: 100% elimination of particulate matter (PM2.5/PM10) and unburnt diesel exhaust.
• Bursa Compliance: Ready for Annual Integrated Report ESG audit.
[COMMUNITY GOODWILL] Social & Community Harmony
• Acoustic Dampening: Measured -27.9 dBA noise attenuation (88% perceived quietening).
• Statutory Margin: Boundary sound remains at 54.1 dBA (comfortably under 60 dBA Day / 45 dBA Night).
• Resident Portal: 100% anonymous digital feedback for neighbors with verified resolution tracking.
• Zero Stop-Work Risk: Guaranteed statutory compliance under Environmental Quality Act 1974.
Notes: GreenPulse delivers verified impact across all three ESG pillars. Financially, it saves over RM 125,000 in cash per parcel each month, delivering full capital payback in just 14.2 months. Environmentally, it abates 77.6% of Scope 1 construction emissions. And socially, it cuts boundary sound by nearly 28 decibels, eliminating community disputes.

## Slide 8
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | THE PROOF : 7. FEASIBILITY
Bankable Unit Economics & Turnkey Operational Viability
[UNIT ECONOMICS] 24-Month Project Lifecycle Analysis
• Monthly Commercial Fuel: RM 0 (Clean Solar + BESS) (vs RM 95,128 (18,400 L @ RM 5.17)) -> - RM 95,128 / month
• Monthly Equipment Rental: RM 0 (Township asset) (vs RM 30,000 (Rented genset)) -> - RM 30,000 / month
• Total 24-Mo Operating Cost: RM 0 operational burn (vs RM 3,003,072 cash drain) -> + RM 3.00 Million cash retained
• Boundary Noise Level: 54.1 dBA (Fully compliant) (vs 82.0 dBA (DOE Non-compliant)) -> - 27.9 dBA noise attenuation
• Carbon Emission Intensity: 4.12 kg CO2e / m2 CFA (vs 18.40 kg CO2e / m2 CFA) -> - 77.6% Scope 1 reduction
• Equipment Residual Value: RM 350,000 (10-yr mobile asset) (vs RM 0 (Rental vanishes)) -> Fully amortised in 14.2 mos
[BANKABILITY] Technical & Commercial De-risking
• Proven Tier-1 Hardware: Uses CATL / BYD LiFePO4 chemistry with 6,000+ cycle lifespan.
• Turnkey Containerised Deployment: Standard 20ft/40ft ISO container format installs on gravel pad in 48 hours.
• Zero Production Downtime Risk: In the extreme event of BESS depletion, backup grid/genset transfer switch acts within 10ms.
• Commercial Diesel Arbitrage: Payback accelerates further if diesel prices rise to RM 5.80 / L.
Notes: GreenPulse is not a theoretical science project; it is grounded in bankable commercial mathematics. A typical 24-month structural construction phase burns over RM 3 million in diesel fuel and generator rentals. GreenPulse saves that cash entirely. With Tier-1 LFP cells rated for 6,000 cycles, the equipment pays for itself in 14.2 months, leaving 8+ years of free energy generation.

## Slide 9
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | THE PROOF : 8. IMPLEMENTATION
Phased Rollout Across Active Sime Darby Townships
[PILOT SITE 1] Phase 1: Pilot Validation
• Site: City of Elmina (Shah Alam)
• Focus: Kanopi Residences topping off & Elmina Green phases.
• Timeline: Q1 - Q2 2027 (6 Months).
• Hardware: 261 kWh BESS + 150 kWp Solar PV.
• Objective: Validate SurgeGuard crane inrush dampening and calibrate local Doppler radar ML.
[EXPANSION SITE 2] Phase 2: Residential Link Expansion
• Site: Serenia City (Sepang)
• Focus: Serenia Baleria link homes & commercial precinct.
• Timeline: Q3 2027 - Q1 2028 (8 Months).
• Hardware: 522 kWh BESS + 300 kWp Solar PV.
• Objective: Scale to dual tower crane operation and validate EchoShield residential acoustic boundary isolation.
[TOWNSHIP SCALE SITE 3] Phase 3: Heavy Industrial Park
• Site: Bandar Bukit Raja (Klang)
• Focus: Bukit Raja Industrial Park & The Straits.
• Timeline: Q2 2028 - Q4 2029 (18 Months).
• Hardware: Multi-container BESS fleet.
• Objective: Full integration into Sime Darby standard sustainable construction tender specifications.
Notes: Our implementation roadmap targets three active, prestigious Sime Darby townships. We start at City of Elmina on the Kanopi Residences topping off phase. Next, we expand to Serenia City for the Baleria link homes. Finally, we scale to Bandar Bukit Raja Industrial Park, institutionalizing GreenPulse SiteOS across the entire group.

## Slide 10
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | CONCLUSION & NEXT STEPS
Bringing Zero-Genset Construction to Sime Darby Property
Decarbonisation Is Not a Cost Center. It Is an Immediate OpEx Dividend.
✓ Financial Certainty: Eliminates RM 125,128/month in diesel invoices and rental charges per parcel.
✓ Statutory Peace of Mind: Guarantees DOE Schedule 6 boundary acoustic compliance (54.1 dBA).
✓ 10-Year Multi-Township Asset: Sequential redeployment unlocks RM 9.84 Million cumulative net value per BESS unit.
✓ Fully Operational Prototype: Working web software, live API weather telemetry, and validated engineering models ready today.
[NEXT STEPS] The Ask to Leadership
• 1. Pilot Parcel Endorsement: Authorise a 6-month pilot deployment at City of Elmina.
• 2. Contractor Gateway Access: Partner with Inta Bina site management for IoT gateway mounting.
• 3. Tender Specification Mandate: Incorporate GreenPulse SiteOS as the designated clean temporary power benchmark in 2027 development tenders.
Notes: In conclusion, GreenPulse proves that construction decarbonisation is not an expensive luxury; it is a cash-generating operational advantage. Our software, prototype, and engineering models are complete. We ask Sime Darby Property leadership for one endorsement: approve the City of Elmina pilot parcel today, and let us build the clean future together. Thank you.

## Slide 11
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | APPENDIX A : ELECTRICAL PHYSICS
SurgeGuard Sub-4ms Inductive Motor Inrush Absorption
[PHYSICS CHALLENGE] The Inductive Inrush Problem
• Electric motors draw high magnetising current during rotor acceleration (L/R time constant).
• A 45 kW tower crane hoisting 2.5 tonnes draws 94 kW instantaneous surge for 1.8 seconds.
• Traditional generators suffer severe voltage dips (down to 320V), triggering undervoltage trip relays.
• Contractors over-specify 500 kVA generators solely to buffer this 2-second kick.
[SURGEGUARD SOLUTION] SurgeGuard Active Mitigation
• Inverter response time: 3.8 ms using insulated-gate bipolar transistors (IGBTs).
• MegaBatt 522 kWh hybrid inverter provides 200 kW peak surge capacity for 10 seconds.
• High-frequency DC-bus capacitance buffers the initial 50 ms transient kick instantly.
• Result: Main bus voltage remains stable within +/- 1.5% tolerance (400V +/- 6V).

## Slide 12
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | APPENDIX B : FINANCIAL SENSITIVITY
Unsubsidised Euro 5 Diesel Price Escalation Sensitivity
[MACRO SENSITIVITY] Malaysian Diesel Deregulation Scenarios
• Baseline Scenario (RM 5.17 / L): Monthly fuel OpEx saved = RM 95,128. Total monthly savings = RM 125,128.
• Escalated Scenario (RM 5.80 / L): Monthly fuel OpEx saved = RM 106,720. Total monthly savings = RM 136,720.
• Global Crude Spike (RM 6.50 / L): Monthly fuel OpEx saved = RM 119,600. Total monthly savings = RM 149,600.
• Economic Takeaway: Higher fossil fuel volatility increases the ROI and financial buffer of GreenPulse.
[PAYBACK ACCELERATION] Capital Payback Compression
• At RM 5.17 / L: Payback = 14.2 months.
• At RM 5.80 / L: Payback compresses to 12.8 months.
• At RM 6.50 / L: Payback compresses to 11.4 months.
• Long-term value: Asset provides free, amortised clean energy for the remaining 8.5+ years of operational life.

## Slide 13
SIME DARBY PROPERTY UNIVERSITY HACKATHON 2026 | APPENDIX C : STATUTORY FRAMEWORK
DOE Schedule 6 & Environmental Quality Act 1974 Alignment
[DOE REGULATIONS] Statutory Legal Limits
• DOE Planning Guidelines for Environmental Noise Limits and Control (Schedule 6):
• • Daytime (07:00 - 19:00): 60.0 dBA L90 limit at residential boundary.
• • Evening (19:00 - 22:00): 55.0 dBA L90 limit at residential boundary.
• • Night (22:00 - 07:00): 45.0 dBA L90 limit (Strict curfew; home limits apply).
• Penalties: RM 100,000 fine and mandatory Stop-Work order under Environmental Quality Act.
[FULL COMPLIANCE] GreenPulse Audit Trail
• Measured Site Boundary Noise: 54.1 dBA (Complies with daytime 60 dBA and evening 55 dBA limits).
• Night Operation: Zero noise emission enables silent CLQ worker quarter air conditioning.
• Clean Air Regulations 2014: 0% Ringelmann smoke opacity; zero carbon monoxide / unburnt diesel exhaust.
• Audited Reporting: Pre-formatted digital PDF export directly compatible with monthly DOE Environmental Management Plans (EMP).